## Table A1
Table A1 List of vulnerable components of the building.
# | Component | Description | Quantity* | Group | Floor
[5 empty] | Ground | Typical | Roof
1 | B2011.102 | Exterior wall - light framed wood walls | See Table 2 | S | - | X | X
2 | B1071.002 | Interior light framed wood walls | See Table 2 | S | - | X | X
3 | C1011.011a | Studded wall partition | See Table 2 | NDS | - | X | X
4 | B2022.001 | Curtain wall | 4.8 in x direction 14.4 in y direction | NDS | - | X | X
5 | C3011.001a | Wall partition | 1.33 in each direction | NDS | - | X | X
6 | C3032.003c | Suspended ceiling | 2.76 | NAS | - | X | X
7 | D2021.013a | Cold water piping | 0.07 | NAS | - | X | X
8 | D2022.013a | Hot water piping | 0.737 | NAS | - | X | X
9 | D2022.023a | Hot water piping with large diameter | 0.14 | NAS | - | X | X
10 | D2031.013b | Sanitary wastewater piping | 0.437 | NAS | - | X | X
11 | D3041.011c | Metal ducting | 0.23 | NAS | - | X | X
12 | D3041.032c | HVAC drops | 3.69 | NAS | - | X | X
13 | D3041.041b | VAV box | 2.76 | NAS | - | X | X
14 | D5012.021a | Low voltage switchgear | 0.23 | NAS | - | X | X
15 | D4011.023a | Fire sprinkler | 1.014 | NAS | - | X | X
16 | D4011.033a | Fire sprinkler drop | 0.55 | NAS | - | X | X
17 | C3021.001p | Generic floor covering | 5824 | NAS | - | X | X
18 | B3011.011 | Roof tile | 32 | NAS | - | - | X
* Quantity as per FEMA P-58.
Acronyms: S=Structural, NDS=Nonstructural displacement sensitive, and NAS=Nonstructural acceleration sensitive

## Table A2
Table A2 List of building walls.
Story | Structural wall* |  |  |  | Nonstructural wall**
| E-W |  | N-S |  | E-W | N-S
| Exterior | Interior | Exterior | Interior | Exterior | Interior
1 | 3.36 | 21.84 | 5.04 | 10.92 | 0.25846 | 1.6154
2 | 3.36 | 21.84 | 5.04 | 10.92 | 0.25846 | 1.6154
3 | 3.36 | 21.84 | 4.2 | 10.92 | 0.25846 | 1.68
4 | 1.68 | 8.4 | 1.68 | 8.4 | 1.4215 | 2.0677
* unit: SF100 ** unit: SF1300